## Slide 1: Network Redundancy Tester
SEL Confidential

## Slide 2: Outline
Introduction
Components
What does it do?
What information can it provide?
Future?

## Slide 3: Purpose
Baseline RSTP failover performance of new networks
Verify RSTP failover performance of existing networks
Verify correct VLAN configuration of edge ports on the network
Work independently from switch network topology and technology
Work independently from switch vendor

## Slide 4: Components
Dedicated Linux-based hardware
One device used as publisher / subscriber (with HMI)
Link breaker with copper or fiber ports

## Slide 5: What Does It Do?
Publisher device – publishing Layer 2 pseudo GOOSE messages
  Pseudo GOOSE messages can be published every 250 μs
Subscriber device – watching the counter (similar to Seq# in every message)
  Subscriber uses Seq# to do failover performance analysis

## Slide 6: Connection Diagrams: Ladder Network Topology
Notes: 4 rung ladder
Sender into 2A and subscriber into 2B

## Slide 7: Connection Diagrams: Ladder Network Topology
Notes: 4 rung ladder
Sender into 2A and subscriber into 2B

## Slide 8: Connection Diagrams: Ladder Network Topology
Notes: 4 rung ladder
Sender into 2A and subscriber into 2B

## Slide 9: Connection Diagrams: Ring Network Topology
Notes: 4 rung ladder
Sender into 2A and subscriber into 2B

## Slide 10: Sender Settings

## Slide 11: Receiver Settings
Samples
Debounce
Inter-event wait
Wait time

## Slide 12: Receiver Settings Menu

## Slide 13: Test Pattern Receiver
SEL Confidential
Notes: Minimum of 40 before you get graphs

## Slide 14: System Behavior

## Slide 15
Event Processing

## Slide 16
Results Menu

## Slide 17: Nomenclature
Link Failure
s2A.d2B.fL1-2730M-R105.txt
Switch Failure
s2A.d2B.f1B-2730M-R105.txt

## Slide 18: Demo Setup
5
Primary Link Up
Primary Link Down
RSTP Switching to Backup Link
Backup Link Up
Primary Link Up
RSTP Switching to Primary Link
Primary Link Up

## Slide 19: Demo Switch Port State
SEL Confidential

## Slide 20: Result Histogram Analysis: Link Down

## Slide 21: Result Line Graph Analysis: Link Down

## Slide 22: Result Histogram Analysis: Link Up

## Slide 23: Result Line Graph Analysis: Link Up

## Slide 24: Future
Cybersecurity network penetration testing
Network stress testing
Real-time protocol monitoring
Network traffic capture for troubleshooting
Human-centered GUI
Multiple-layer traffic simulation options

## Slide 25: Questions